## Slide 1: PowerGrid Predictive Maintenance
Predictive Asset Failure Risk & Maintenance Prioritization

## Slide 2: Business Problem
Increasing failures, outages, aging infrastructure, high utilization, weather risk, and reactive maintenance.

## Slide 3: Objectives
Predict grid_failure_flag; identify drivers; score asset risk; prioritize maintenance; separate predictive risk from business impact.

## Slide 4: Dataset Overview
50,500 rows; 32 columns; 43.02% failure rate; 500 duplicate rows; missing oil quality and inspection scores; no reliable timestamp.

## Slide 5: Data & Leakage Controls
Duplicates removed. Numeric/categorical imputation inside pipeline. Post-event revenue loss, penalty cost and outage duration excluded from predictors. Customers served reserved for impact.

## Slide 6: EDA Focus
Asset condition, load stress, voltage stability, maintenance overdue days, weather risk, inspections and oil quality.

## Slide 7: Models Compared
Logistic Regression; Decision Tree; Random Forest; Linear SVM.

## Slide 8: Model Comparison
Model Precision Recall F1 ROC-AUC PR-AUC Threshold
Random Forest 0.740897 0.870428 0.800456 0.906451 0.881555 0.410
Decision Tree 0.746914 0.862678 0.800633 0.900320 0.870022 0.400
SVM 0.649175 0.816801 0.723404 0.830670 0.790319 0.470
Logistic Regression 0.647475 0.822691 0.724642 0.830680 0.790316 0.415

## Slide 9: Selected Model
Random Forest
Holdout ROC-AUC: 0.908
Holdout PR-AUC: 0.886
Recall: 0.871
Threshold: 0.41

## Slide 10: Risk Framework
Low <30% | Medium 30–60% | High 60–80% | Critical >=80%. Maintenance priority combines risk with normalized customers served.

## Slide 11: High-Risk Asset Strategy
Review Critical assets first; use condition and operational drivers to determine inspection scope; prioritize customer-critical assets.

## Slide 12: Business Recommendations
Condition-based inspection; overdue-maintenance reduction; high-load monitoring; weather readiness; CMMS/asset-management integration; model monitoring.

## Slide 13: Limitations
No temporal field; no causal inference; real-world validation required; operational threshold must be calibrated to maintenance capacity.

## Slide 14: Future Scope
Real-time telemetry, time-series models, survival analysis, anomaly detection, automated alerts, MLOps and drift monitoring.

## Slide 15: Conclusion
A reproducible, leakage-aware framework converts historical utility data into actionable failure risk and maintenance priority.